## Overview
To be completed by the manufacturer
Legal Manufacturer Name | (populate here)
Legal Manufacturer Address | (populate here)
Contact Person | (populate here)
Submission Date | (populate here)
Please review the Guidance Tab before completing the Device Schedule Tab and Sites Tab
Revision 3 (July 2019)

## Guidance
Guidance for Device Schedule Tab
Column B - Device Nomenclature Code - CND coding has been selected by the EU Commission as the medical devices nomenclature system under MDR. CND codes may be obtained from the Italian Ministry of Health website - http://www.salute.gov.it/portale/temi/p2_6.jsp?id=328&area=dispositivi-medici&menu=classificazione
A direct link to the English translation of the CND codes can be found here - http://www.salute.gov.it/imgs/C_17_pagineAree_328_listaFile_itemName_15_file.pdf
Group different sizes and variants of the same product(s) in a single line item if the intended purpose for these sizes and variants is similar and these are covered by the same technical documentation. Column F - Classification - Select classification of the device from the drop-down list. Well-established technologies (WET) are referenced in Article 52(4), Article 52(5) of the Regulation and include devices such as sutures, staples, dental fillings, dental braces, tooth crowns, screws, wedges, plates, wires, pins, clips and connectors. Column G - Justification for Classification - Manufacturers are required to provide detailed classification rationale(s) in order for the notified body to accurately assess the chosen rule(s) and the classification of the devices. Guidance for Class Ir devices: Class Ir devices should be grouped using the CND codes for reusable surgical instruments (Category L under the CND coding system). Where available, grouping should be done at the level of 6 digits within category L (e.g. L010401 - Scissors, bandage and clothing; L031302 - Forceps, Dressing etc). The full list of Class Ir devices covered under each group should be maintained within the Manufacturer's own documentation and will be verified during BSI audits. For each Class Ir row, a single primary functional category (cutting, drilling, sawing, scraping etc) that best describes the intended purpose of the instruments should be selected in Column H. If 'Other' is selected in Column H, Manufacturers should further define the functional category of the device(s) in Column I (e.g probing, dilating). It is recommended to keep the number of class Ir functional categories to a minimum.
Guidance for Sites Tab
The Sites tab should be populated with 4 site types where applicable. Site 1 should be populated with the Legal Manufacturer Main Site. The name and address field for this will be automatically populated based on the fields in the Overview tab. This should be populated as per the Manufacturers EUDAMED Submissions. Additional columns on the Sites tab should be populated with Manufacturer Additional Sites, Critical Subcontractors and Crucial Suppliers (where applicable). Where the Sites tab requests copy of certificates, please provide copies of any CE Marking, ISO 13485, ISO 9001 or MDSAP certificates held.
Guidance on identifying a Critical Subcontractor
An organization that performs an outsourced process on Manufacturer's behalf and where the activity or service is critical to the performance and safety of the device(s). This should include all significant subcontractors (i.e. as originally listed on the BSI Company Information Form or current CE certificate listing) and any other entities previously unidentified.
For example (but not limited to): Sterilisation services, primary packaging, forming services, assembly of final device, testing of final device, companies providing finished devices, regulatory responsibility and / or activities essential for ensuring compliance with legal requirements, design or software development.
Guidance on identifying a Crucial Supplier
An organization that supplies a key raw material, or component, the failure of which to meet specified requirements could cause a significant degradation in the safety and performance of the device(s).
For example (but not limited to): Suppliers of key sub-assemblies or key components of a device. Suppliers of critical raw materials such as shell material & silicone gel component for breast implants or other silicone based implants, suppliers of animal tissue for animal-tissue based devices, medicinal substance suppliers or processors for device-drug combinations, polypropylene suppliers for implantable polypropylene based mesh devices, suppliers of metals and/or ceramics for replacement joints.

## Device Schedule
MDD/AIMDD Certificate Number (if applicable) | Device Nomenclature Code (As per CND; For Class Ir devices, where available, this must be specified in the following format LXXXXXX) | Product Name (Product Group Name for Class Ir devices if being grouped using CND coding system) | Indications for Use as per the IFU (For Class Ir devices, if being grouped using CND coding system, a general intended purpose may be provided) | All applicable Classification Rules (per Annex VIII of MDR) | Classification (select from the cell dropdown list) | Justification for Classification (Manufacturers are required to provide detailed classification rationale(s) in order for the notified body to accurately assess the chosen rule(s) and the classification of the devices.) | If Class Ir applies, select the functional category from the cell dropdown list | If the Class Ir functional category is 'Other' specify the functional category (e.g Dilating, Probing) | Is the device a new development to the market? (Yes/No) | Does the device feature any novel features such as materials, technologies or intended use? (Specify below or mark as 'Not applicable') | Materials: Indicate the primary material base/technology of the product. (Select from one of the following - Active non-implantable; Active Implantable; Non-active Plastic; Non-metal Mineral (e.g glass, ceramics); Non-metal non-mineral (e.g textiles, rubber, leather, paper); Biotechnology; Chemical Processing; Pharmaceuticals incorporated; Materials of Human or Animal origin; Non-active Metal; Software; Others (specify)) | Is the product Sterile (Yes/No) | Sterilisation Method (ETO, Gamma, E-Beam, etc or N/A) | Location of Sterilisation (Select from In-house, End-user, Subcontracted or N/A) | Cleaning Method - Class Ir only (choose from Manual Only, Automated Only, Manual or Automated, Manual AND Automated) | Does the device contain medicinal substances and/or human-blood derivatives? (If Yes, give details of medicinal substance including name, sourcing, availability of ASMF or CEP, previous consultations held with a national Competent Authority or EMA. If the substance is considered not to fall under MDR Rule 14, please provide a justification for this as a separate document. For Article 117 applications this justification is not required. If No, specify 'Not applicable') | Does the device contain or utilise non viable animal tissue or derivatives? (If Yes, indicate the tissue/derivative, country of origin (sourcing country) and EDQM certificate details (if applicable). If No, specify 'Not applicable') | Does the device utilise non viable human tissues, cells or derivatives? (If Yes, indicate the tissue/cell, sourcing, previous consultation held and any other relevant information. If No, specify 'Not applicable') | Does the device utilise biologically active coatings and/or materials? (If Yes, specify the type of coating/materials. If No, specify 'Not applicable') | Is the device wholly or mainly absorbed? (Yes/No) | Is the device locally dispersed in the human body or are intended to undergo a chemical change in the body? (Yes/No) | Does the device contain software (stand-alone or integrated)? (If Yes, specify the classification as per EN 62304 - Class A, B or C If No, specify 'Not applicable') | Does the device incorporate or consist of nanomaterials? (If Yes, specify the level of internal exposure (negligible; low; medium; high) of the nanomaterials. If No, specify 'Not Applicable') | Does the device include any accessories? (If Yes, specify the Accessories below and indicate if the accessories are sold with the device or separately. If No, specify 'Not applicable') | Basic UDI-DI (if available) | Date for Submission of Technical Documentation (select from the cell drop down list) | Technical Documentation File Reference Number

## Sites
Sites | Site 1 | Site 2 | Site 3 | Site 4 | Site 5 | Site 6 | Site 7 | Site 8 | Site 9 | Site 10 | Site 11 | Site 12 | Site 13 | Site 14 | Site 15 | Site 16 | Site 17 | Site 18 | Site 19 | Site 20 | Site 21 | Site 22 | Site 23 | Site 24 | Site 25 | Site 26 | Site 27 | Site 28 | Site 29 | Site 30 | Site 31 | Site 32 | Site 33 | Site 34 | Site 35 | Site 36 | Site 37 | Site 38 | Site 39 | Site 40 | Site 41 | Site 42 | Site 43 | Site 44 | Site 45 | Site 46 | Site 47 | Site 48 | Site 49 | Site 50
Location Type (use the dropdown in this row to select the site type) | Site 1: Legal Manufacturer Main Site
Name | Site 1: Please populate this via the Overview Tab
Address | Site 1: Please populate this via the Overview Tab
Activities
Number of Effective Employees
Shift System (Hours/number of shifts/number of employees per shift)
Site Contact (Name and Contact Details)
Existing Registration(s)/Certification(s) held (Certificate Number and Type)
Issuer(s) of Certificate(s)
Copy of Certificate(s) Provided (Yes/No)
Single Registration Number (Article 52) if available
Single Registration Number (Article 22.3 Systems and Procedure Packs) if available

## control (hidden)
Classification
Classification | Classification Ir | Sub-contractors | tech doc readiness
Class I (Non-Sterile, Non-Measuring, Non-Reusable) | Clamping | Manufacturer Additional Site | Ready Now
Class Im | Clipping | Critical Subcontractor | Q3 2019
Class Im & Is | Cutting | Crucial Supplier | Q4 2019
Class Ir | Drilling |  | Q1 2020
Class Ir & Im | Retracting |  | Q2 2020
Class Ir & Is | Sawing |  | Q3 2020
Class Ir & Is & Im | Scraping |  | Q4 2020
Class Is | Scratching |  | Q1 2021
Class IIa - Non-Implantable | Other |  | Q2 2021
Class IIa - Implantable |  |  | Q3 2021
Class IIb - under rule 12 |  |  | Q4 2021
Class IIb - Implantable - WET (Well-established Technologies as per Article 52.4 of MDR) |  |  | Q1 2022
Class IIb - Implantable - non-WET |  |  | Q2 2022
Class IIb - Non-Implantable - non-WET- non-Rule 12 |  |  | Q3 2022
Class III - Non-Implantable |  |  | Q4 2022
Class III - Implantable |  |  | Q1 2023
Custom-made Class III Implantable |  |  | Q2 2023
Article 22.3 Systems and Procedure Packs |  |  | Q3 2023
Article 117 Drug/Device Combinations |  |  | Q4 2023
Q1 2024